Cell Titer Glo

* New Box
  + Store at -20 until use
  + Night before: thaw at 4 overnight
  + Next morning, transfer CTG Buffer to Brown Glass Bottle
  + Shake vigorously until fully dissolved
  + Aliquot 5 mL into 15-mL Falcon Tubes
  + Freeze -20 in the box
* Use
  + Add 50 uL CTG on top of 100 uL media per well in 96-well plate
  + Wrap plate in foil
  + Place on rocker for 10 min
  + Stabilize by letting in on bench for 5 min
  + Plate Reader Settings